## Laingsburg
COMPLIANCE SAMPLE RESULTS FOR WATER (July 2014- June 2015)
Laingsburg |  |  | 2014 Blue Drop Limits | Compliance Calculations |  |  |  |  | 0/07/2014 | [7 empty] | 07/08/2014 | [6 empty] | 09/09/2014 | [7 empty] | 09/10/2014 | [8 empty] | 08/11/2014 | [6 empty] | 11/12/2014 | [6 empty] | 12/01/2015 | [7 empty] | 13/02/2015 | [6 empty] | 05/03/2015 | [6 empty] | 09/04/2015 | [6 empty] | 06/05/2015 | [6 empty] | 04/06/2015
Parameter | Unit | Risk | Standard Limits (SANS 241-2011 and SANS 241-2006 Class I) | Total Number of Samples | Number of Samples Complying | % Compliance Achieved | Performance | Average | Municipal Tap | Soutkloof Spring | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Municipal Tap | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Municipal Tap | Matjiesfontein Tap | Soutkloof Spring | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Municipal Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville Reservoir | School Tap | Goldnerville House | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res. | Matjiesfontein Tap | Goldnerville House | School Tap | Goldnerville Res. | Bergsig Tap | School Res. | Main Res.
pH (at 25°C) | pH |  | >5.0 - < 9.7 | 56 | 48 | 85.71% | Excellent | 7.8337 | 8 | 7.8 | 8 | 7.7 | 7.9 | 7.8 | 8.1 | 7.8 |  |  | 7.5 | 7.9 | 7.5 |  | 7.6 | 7.9 |  |  |  | 7.9 | 7.8 |  | 7.8 | 8.1 |  | 7.9 | 8 | 7.9 | 8 | 7.9 | 8.2 | 7.9 |  |  |  | 7.7 | 7.6 | 7.8 | 7.4 |  |  |  | 7.7 | 7.6 | 7.9 | 7.6 |  |  |  |  | 7.9 | 7.9 | 8 | 7.9 |  |  |  | 7.8 | 7.7 | 7.8 | 7.7 |  |  |  | 8.2 | 8 | 8.3 | 8 |  | 7.84 |  |  | 7.54 | 7.94 | 7.53 |  |  |  | 7.9 | 7.8 | 8.1 | 7.7 |  |  |  | 7.71 | 7.7 | 7.9 | 7.63
Conductivity | mS/m | Aesthetic | < 170 | 56 | 52 | 92.86% | unacceptable | 135.7054 | 120 | 116 | 124 | 121 | 121 | 117 | 120 | 116 |  |  | 117 | 114 | 117.5 |  | 118 | 181 |  |  |  | 182 | 202 |  | 198 | 133 |  | 140 | 128 | 135 | 131 | 139 | 129 | 139 |  |  |  | 146 | 144 | 134 | 146 |  |  |  | 150 | 139 | 127 | 150 |  |  |  |  | 125 | 138 | 134 | 135 |  |  |  | 142 | 138 | 144 | 136 |  |  |  | 150 | 135 | 139 | 135 |  | 133 |  |  | 137 | 132 | 135 |  |  |  | 61 | 137 | 132 | 136 |  |  |  | 142 | 133 | 141 | 135
Langelier Saturation Index |  |  | -
Turbidity | NTU | Operational | < 1 | 55 | 50 | 90.91% | unacceptable | 0.379 00 | 0 | 0 | 0 | 0 | 0 | 1.95 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1.21 | 5.04 | 0 | 2 |  |  |  | 0 | 0 | 2.46 | 0.58 |  |  |  |  | 0 | 0 | 0 | 0.39 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0.26 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
|  | Aesthetic | < 5 | 55 | 54 | 98.18% | Exellent |  | 0 | 0 | 0 | 0 | 0 | 1.95 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1.21 | 5.04 | 0 | 2 |  |  |  | 0 | 0 | 2.46 | 0.58 |  |  |  |  | 0 | 0 | 0 | 0.39 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0.26 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Colour (as Pt) | mg/L Pt-Co | Aesthetic | < 20 | 3 | 3 | 100% | Exellent | 0
CaCO3 Precipitation Potential |  |  | - | 0 |  | #DIV/0!
Total Alkalinity (as CaCO3) |  |  | - | 0 |  | #DIV/0!
Total Hardness (as CaCO3) |  |  | - | 0 |  | #DIV/0!
Calcium Hardness (as CaCO3) |  |  | - | 0 |  | #DIV/0!
Calcium (as Ca) | mg/L | Aesthetic / Operation | < 150 | 3 | 3 | 100% | Exellent | 73.1667 | [11 empty] | 73.29 | 73.13 |  | 73.08
Magnesium Hardness (as CaCO3) |  |  | - | 0 |  | #DIV/0!
Magnesium (as Mg) | mg/L | Aesthetic / Health | < 70 | 3 | 3 | 100% | Exellent | 27.3433 | [11 empty] | 27.13 | 27.41 |  | 27.49
Fluoride (as F) | mg/L | Chronic Health | < 1.5 | 47 | 46 | 97.87% | Exellent | 0.79043 | [11 empty] | 0.71 | 0.79 |  | 0.82 | 0.58 |  |  |  | 0.65 | 0.86 |  | 0.82 | 0.81 |  | 0.9 | 0.85 | 0.88 | 0.77 | 0.86 | 0.81 | 0.87 |  |  |  | 0.7 | 0.8 | 0.6 | 0.8 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0.8 | 1 | 0.9 | 1 |  |  |  | 0..6 | 0.9 | 0.9 | 0.8 |  |  |  | 0.8 | 1.1 | 0.9 | 1.2 |  | 0.9 |  |  | 1.1 | 1.1 | 1.2 |  |  |  | 1 | 1.1 | 1 | 1.2 |  |  |  | 0.63 | 0.67 | 0.6 | 0.68
Total Dissolved Solids | mg/L | Aesthetic | < 1 200 | 0 | 0 | #DIV/0!
Free Chlorine |  | Chronic Health | > 0 - < 0.5 | 43 | 36 | 83.72% | Good | 0.28698 | [15 empty] | 0.04 |  |  |  | 0.05 | 0.1 |  | 0.09 | 0.1 |  |  | 0.05 | 0.05 | 0.05 | 0.17 | 0.06 | 0.22 |  |  |  | 0.04 | 0.15 | 0.12 | 0.09 |  |  |  | 0.38 | 0.48 | 0.61 | 0.42 |  |  |  |  | 0.27 | 0.35 | 0.33 | 0.28 |  |  |  | 0 | 0.2 | 0 | 0.36 |  |  |  | 0 | 0.13 | 0 | 0.19 |  | 0.54 |  |  | 0.38 | 0.39 | 0.42 |  |  |  | 0.67 | 0.29 | 0.44 | 0.46 |  |  |  | 0.7 | 0.75 | 1.23 | 0.69
Iron (as Fe) | ug/L | Chronic Health | < 2 000 | 55 | 55 | 100% | Exellent | 20.94 | 0.003 | 0.001 | 0.004 | 0.014 | 0.003 | 0.008 | 0.003 | 0.002 |  |  |  | 84 | 49 |  | 53 | 0.12 |  |  |  | 0.06 | 0.04 |  | 0.05 | 0.11 |  | 0.09 | 0.11 | 0.1 | 0.11 | 0.12 | 0.1 | 0.12 |  |  |  | 0.02 | 0.14 | 0.03 | 0.03 |  |  |  | 0.05 | 0.06 | 0.04 | 0.05 |  |  |  |  | 0.15 | 0.15 | 0.2 | 0.15 |  |  |  | 0.04 | 0.01 | 0.02 | 0.03 |  |  |  | 0 | 0 | 0 | 0 |  | 0.081 |  |  | 0.029 | 0.045 | 0.033 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0.035 | 0.022 | 0.024 | 0.029
|  | Aesthetic | < 300 | 55 | 55 | 100% | Exellent |  | 0 | 0 | 0 | 0.01 | 0 | 0.01 | 0 | 0 |  |  |  | 84 | 49 |  | 53 | 0.12 |  |  |  | 0.06 | 0.04 |  | 0.05 | 0.11 |  | 0.09 | 0.11 | 0.1 | 0.11 | 0.12 | 0.1 | 0.12 |  |  |  | 0.02 | 0.14 | 0.03 | 0.03 |  |  |  | 0.05 | 0.06 | 0.04 | 0.05 |  |  |  |  | 0.15 | 0.15 | 0.2 | 0.15 |  |  |  | 0.04 | 0.01 | 0.02 | 0.03 |  |  |  | 0 | 0 | 0 | 0 |  | 0.08 |  |  | 0.03 | 0.05 | 0.03 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0.035 | 0.022 | 0.024 | 0.029
Manganese (as Mn) | ug/L | Chronic Health | < 500 | 54 | 54 | 100% | Exellent | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 11 | 12 |  | 12 | 0 |  |  |  |  | 0 |  | 0 | 0.01 |  | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |  |  |  | 0.001 | 0.001 | 0 | 0.001 |  |  |  | 0.001 | 0.001 | 0.001 | 0.002 |  |  |  |  | 0.001 | 0 | 0.002 | 0 |  |  |  | 0.003 | 0.02 | 0.03 | 0.03 |  |  |  | 0.004 | 0.031 | 0.005 | 0.004 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0.001 | 0.001 | 0.001 | 0.001 |  |  |  | 0 | 0 | 0 | 0
|  | Aesthetic | < 100 | 54 | 54 | 100% | Exellent |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 11 | 12 |  | 12 | 0 |  |  |  |  | 0 |  | 0 | 0.01 |  | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.02 | 0.03 | 0.03 |  |  |  | 0 | 0.03 | 0.01 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0.001 | 0.001 | 0.001 | 0.001 |  |  |  | 0 | 0 | 0 | 0
Aluminium (as Al) | ug/L | Operational | < 300 | 47 | 47 | 100% | Exellent | 0.17587 | [11 empty] | 4 | 2 |  | 2 | 0.001 |  |  |  | 0.001 | 0.002 |  | 0.001 | 0 |  | 0.01 | 0.01 | 0 | 0 | 0.01 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0.006 | 0.004 | 0.006 | 0.009 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0.008 | 0.007 | 0.005 | 0.005 |  |  |  | 0.01 | 0.009 | 0.006 | 0.022 |  | 0.02 |  |  | 0.01 | 0.01 | 0.01 |  |  |  | 0.021 | 0.02 | 0.023 | 0.02 |  |  |  | 0 | 0 | 0 | 0
Escherichia Coli | cfu/100ml | Acute Health - 1 | < 0 | 58 | 58 | 100% | Exellent | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Total Coliform Bacteria | cfu/100ml | Operational | < 10 | 58 | 56 | 96.55% | Good | 2.8966 | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 112 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 1 | 0 | 1 | 1 |  | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  | 2 | 0 | 0 | 0
Heterotrophic Plate Count | cfu/ml | Operational | < 1000 |  |  | #DIV/0! |  | #DIV/0!
Total Chlorine | mg/L | Chronic Health | < 5 | 12 | 12 | 100% | Exellent | 0.080833 | [15 empty] | 0.04 |  |  |  | 0.05 | 0.1 |  | 0.09 | 0.1 |  | 0.11 | 0.05 | 0.05 | 0.05 | 0.05 | 0.06 | 0.22
Dissolved Organic Carbon | mg/L | Chronic Health | < 10 | 24 | 4 | 16.67% | unacceptable | 15.2718 | 12.8 | 10.5 | 13.4 | 7 | 8.3 | 13.2 | 8.2 | 12.3 | [56 empty] | 17.8 | 11.3 | 20.1 | 0.022 |  | 21.8 |  |  | 17.4 | 17 | 16.3 |  |  |  | 34.4 | 18.2 | 19.2 | 16.6 |  |  |  | 13.8 | 21.4 | 13.3 | 22.2
Sodium (as Na) | mg/L | Aesthetic | < 200 | 47 | 47 | 100% | Exellent | 158.33 | [11 empty] | 155.7 | 154.6 |  | 155.3 | 128.4 |  |  |  | 131.6 | 153.1 |  | 153.4 | 151.44 |  | 163.24 | 142.49 | 153.57 | 146.6 | 155.96 | 146.25 | 157.71 |  |  |  | 148.55 | 150.71 | 141.05 | 151.88 |  |  |  | 143.07 | 150.67 | 144.94 | 152.75 |  |  |  |  | 146.25 | 145.27 | 144.65 | 143.67 |  |  |  | 160.87 | 160.15 | 160.33 | 158.98 |  |  |  | 165.84 | 160.28 | 166.39 | 158.19 |  | 156.69 |  |  | 161.41 | 157.18 | 162.9 |  |  |  | 177.86 | 182.21 | 177.07 | 183.13 |  |  |  | 191.06 | 196.94 | 196.93 | 194.28
Potassium (as K) | mg/L | Operational / Health | < 50 | 3 | 3 | 100% | Exellent | 0.39 | [11 empty] | 0.45 | 0.36 |  | 0.36
Zinc (as Zn) | mg/L | Aesthetic | < 5 | 47 | 47 | 100% | Exellent | 0.046851 | [11 empty] | 0.02 | 0.02 |  | 0.02 | 0.21 |  |  |  | 0.012 | 0.031 |  | 0.018 | 0.03 |  | 0.02 | 0.04 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 |  |  |  | 0.018 | 0.025 | 0.018 | 0.166 |  |  |  | 0.035 | 0.023 | 0.038 | 0.056 |  |  |  |  | 0.079 | 0.054 | 0.097 | 0.059 |  |  |  | 0.033 | 0.038 | 0.033 | 0.032 |  |  |  | 0.019 | 0.031 | 0.018 | 0.02 |  | 0.09 |  |  | 0.06 | 0.04 | 0.05 |  |  |  | 0.027 | 0.07 | 0.024 | 0.024 |  |  |  | 0.084 | 0.082 | 0.087 | 0.081
Chloride (as Cl) | mg/L | Aesthetic | < 300 | 47 | 46 | 97.87% | Exellent | 200.814 | [11 empty] | 186.27 | 179.4 |  | 181.93 | 185.28 |  |  |  | 196.77 | 202.69 |  | 198.62 | 183.17 |  | 203.44 | 190.1 | 207.51 | 227.89 | 231.6 | 177.13 | 191.58 |  |  |  | 213.07 | 196.02 | 207.51 | 196.4 |  |  |  | 198.57 | 218.1 | 207.97 | 243.78 |  |  |  |  | 234.01 | 175.06 | 217.02 | 184.1 |  |  |  | 253.83 | 196.02 | 198.99 | 180.46 |  |  |  | 230.83 | 322.51 | 209.65 | 169.74 |  | 146.46 |  |  | 167.28 | 166.55 | 197.96 |  |  |  | 205.87 | 210.91 | 208.75 | 183.56 |  |  |  | 203.07 | 200.56 | 152.93 | 197.34
Sulphate (as SO42-) | mg/L | Acute Health - 1 | < 500 | 47 | 47 | 100% | Exellent | 118.08 | [11 empty] | 124.36 | 124.96 |  | 125.26 | 90.54 |  |  |  | 93.09 | 120.26 |  | 120.2 | 123.981 |  | 135.38 | 114.99 | 125.68 | 119.58 | 129.28 | 118.83 | 131.19 |  |  |  | 135.02 | 141.09 | 123.26 | 135.84 |  |  |  | 120.78 | 123.27 | 121.21 | 127.5 |  |  |  |  | 130.76 | 136.27 | 133.08 | 130.54 |  |  |  | 169.92 | 168.16 | 169.58 | 168.16 |  |  |  | 202.03 | 187.18 | 195.41 | 184.49 |  | 184.79 |  |  | 188.77 | 182.24 | 191.72 |  |  |  | 154.73 | 152.87 | 143.56 | 162.09 |  |  |  | 156.84 | 162.03 | 160.77 | 160.73
|  | Aesthetic | < 250 | 47 | 47 | 100% | Exellent | [12 empty] | 124.36 | 124.96 |  | 125.26 | 90.54 |  |  |  | 93.09 | 120.26 |  | 120.2 | 123.981 |  | 135.38 | 114.99 | 125.68 | 119.58 | 129.28 | 118.83 | 131.19 |  |  |  | 135.02 | 141.09 | 123.26 | 135.84 |  |  |  | 120.78 | 123.27 | 121.21 | 127.5 |  |  |  |  | 130.76 | 136.27 | 133.08 | 130.54 |  |  |  | 169.92 | 168.16 | 169.58 | 168.16 |  |  |  | 202.03 | 187.18 | 195.41 | 184.49 |  | 184.79 |  |  | 188.77 | 182.24 | 191.72 |  |  |  | 154.73 | 152.87 | 143.56 | 162.09 |  |  |  | 156.84 | 162.03 | 160.77 | 160.73
Ammonia Nitrogen (as N) | mg/L | Aesthetic | < 1.5 | 47 | 47 | 100% | Exellent | [12 empty] | 0.17 | 0.18 |  | 0.18 | 0.199 |  |  |  | 0.201 | 0.199 |  | 0.186 | 0.22 |  | 0.21 | 0.21 | 0.2 | 0.21 | 0.2 | 0.19 | 0.19 |  |  |  | 0.228 | 0.223 | 0.237 | 0.233 |  |  |  | 0.288 | 0.985 | 0.288 | 0.257 |  |  |  |  | 0.23 | 0.216 | 0.219 | 0.225 |  |  |  | 0.277 | 0.293 | 0.269 | 0.26 |  |  |  | 0.234 | 0.259 | 0.246 | 0.24 |  | 0.26 |  |  | 0.25 | 0.24 | 0.24 |  |  |  | 0.316 | 0.362 | 0.295 | 0.298 |  |  |  | 0.21 | 0.22 | 0.2 | 0.21
Nitrate as N | mg/L | Acute Health - 1 | < 11 | 55 | 55 | 100% | Exellent | 0.45387 | 0.76 | 0.74 | 0.8 | 0.77 | 0.78 | 0.75 | 0.79 | 0.74 |  |  |  | 0.25 | 0.26 |  | 0.25 | 0.191 |  |  |  | 0.189 | 0.256 |  | 0.26 | 0.24 |  | 0 | 0.22 | 0.28 | 0.24 | 0.23 | 0.23 | 0.22 |  |  |  | 0.324 | 0.325 | 0.3 | 0.346 |  |  |  | 0.581 | 0.269 | 0.327 | 0.271 |  |  |  |  | 1.084 | 0.949 | 0.979 | 0.954 |  |  |  | 0.772 | 0.276 | 0.758 | 0.267 |  |  |  | 1.042 | 0.337 | 0.964 | 0.311 |  | 0.37 |  |  | 0.23 | 0.26 | 0.22 |  |  |  | 0.325 | 0.25 | 0.269 | 0.237 |  |  |  | 0.66 | 0.2 | 0.85 | 0.21
Nickel (as Ni) | ug/L | Chronic Health | < 150 | 3 | 3 | 100% | Exellent | 0 | [11 empty] | 0 | 0 |  | 0
Cobalt (as Co) | ug/L | Chronic Health | <500 | 3 | 3 | 100% | Exellent | 0 | [11 empty] | 0 | 0 |  | 0
Copper (as Cu) | ug/L | Chronic Health | < 2000 | 3 | 3 | 100% | Exellent | 19 | [11 empty] | 18 | 21 |  | 18
Chromium (as Cr) | ug/L | Chronic Health | < 100 | 3 | 3 | 100% | Exellent | 7 | [11 empty] | 20 | 0 |  | 1
Cadmium (as Cd) | ug/L | Chronic Health | < 5 | 3 | 3 | 100% | Exellent | 0 | [11 empty] | 0 | 0 |  | 0
Lead (as Pb) | ug/L | Chronic Health | < 20 | 3 | 3 | 100% | Exellent | 0.66667 | [11 empty] | 2 | 0 |  | 0
Cyanide | ug/L | Acute Health - 1 | < 70 |  |  | #DIV/0! |  | #DIV/0!
Arsenic (as As) | ug/L | Chronic Health | < 10 | 3 | 3 | 100% | Exellent | 1.3333 | [11 empty] | 4 | 0 |  | 0
Mercury (as Hg) | ug/L | Chronic Health | < 6 | 3 | 3 | 100% | Exellent | 2.3333 | [11 empty] | 4 | 1 |  | 2
Selenium (as Se) | ug/L | Chronic Health | < 20 | 3 | 3 | 100% | Exellent | 1 | [11 empty] | 0 | 3 |  | 0
Vanadium (as V) | ug/L | Chronic Health | < 200 | 3 | 3 | 100% | Exellent | 1 | [11 empty] | 1 | 1 |  | 1
Antimony (as Sb) | ug/L | Chronic Health | < 20 | 3 | 3 | 100% | Exellent | 4 | [11 empty] | 4 | 6 |  | 2
| Acute Health - 1 Chemical |  |  | 160 | 160 | 100% | Excellent |  | ≥ 97% Excellent, ≥ 95% Good, < 95% Unacceptable
| Chronic Health |  |  | 268 | 240 | 89.55% | Unacceptable
| Aesthetic |  |  | 464 | 458 | 98.71% | Excellent
| Risk Assessment Defined Health (Acute or Chronic) |  |  | 434 | 406 | 93.55% | Good |  | ≥ 95% Excellent, ≥ 93% Good, < 93% Unacceptable
| Operational Efficiency |  |  | 222 | 207 | 93.24% | Good

## Matjiesfontein
COMPLIANCE SAMPLE RESULTS FOR WATER (July 2014- June 2015)
Matjiesfontein |  |  | 2014 Blue Drop Limits | Compliance Calculations |  |  |  |  | Jul | Aug | Sept | Oct | Nov | Dec | Jan | Febr | Mar | Apr | May | Jun
Parameter | Unit | Risk | Standard Limits (SANS 241-2011 and SANS 241-2006 Class I) | Total Number of Samples | Number of Samples Complying | % Compliance Achieved | Performance | Average | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap | Matjiesfontein Tap
pH (at 25°C) | pH | Operational | >5.0 - < 9.7 | 12 | 10 | 83.33% | Excellent | 7.5227 | 7.6 | 7.2 | 7.7 | 7.8 | 7.3 | 7,4 | 7.5 | 7.4 | 7.7 | 7.34 | 7.6 | 7.61
Conductivity | mS/m | Aesthetic | < 170 | 12 | 12 | 100% | Excellent | 117.0167 | 92 | 90.2 | 166 | 97 | 101 | 159 | 108 | 122 | 116 | 118 | 123 | 112
Langelier Saturation Index |  |  | - | 0
Turbidity | NTU | Operational | < 1 | 11 | 11 | 100% | Excellent | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Aesthetic | < 5 | 11 | 11 | 100% | Excellent
Colour (as Pt) | mg/L Pt-Co | Aesthetic | < 20 | 0 | 0
CaCO3 Precipitation Potential |  |  | - | 0
Total Alkalinity (as CaCO3) |  |  | - | 0
Total Hardness (as CaCO3) |  |  | - | 0
Calcium Hardness (as CaCO3) |  |  | - | 0
Calcium (as Ca) | mg/L | Aesthetic / Operation | < 150 | 1 | 1 | 100% | Excellent | 54 | Aug: 54
Magnesium Hardness (as CaCO3) |  |  | - | 0
Magnesium (as Mg) | mg/L | Aesthetic / Health | < 70 | 1 | 1 | 100% | Excellent | 31.84 | Aug: 31.84
Fluoride (as F) | mg/L | Chronic Health | < 1.5 | 10 | 10 | 100% | Excellent | 0.194 |  | 0.23 | 0.28 |  | 0.3 | 0 | 0.16 | 0.5 | 0.2 | 0.1 | 0 | 0.17
Total Dissolved Solids | mg/L | Aesthetic | < 1 200 | 1 | 1 | 100% | Excellent | 542 | Aug: 542
Free Chlorine |  | Chronic Health | > 0 - < 0.5 | 9 | 6 | 66.67% | Unacceptable | 0.28 |  |  | 0.09 |  | 0.1 | 0.57 | 0.22 | 0 | 0 | 0.45 | 0.51 | 0.58
Iron (as Fe) | ug/L | Chronic Health | < 2 000 | 11 | 11 | 100% | Excellent | 42.14 | 0.001 | 42 | 0.04 |  | 0.02 | 0.08 | 0.16 | 0.02 | 0 | 0.021 | 0 | 0.023
|  | Aesthetic | < 300 | 11 | 11 | 100% | Excellent | 42.14
Manganese (as Mn) | ug/L | Chronic Health | < 500 | 11 | 11 | 100% | Excellent | 3.4 | 0 | 17 | 0 |  | 0.001 | 0.015 | 0 | 0.004 | 0.004 | 0 | 0.002 | 0
|  | Aesthetic | < 100 | 11 | 11 | 100% | Excellent
Aluminium (as Al) | ug/L | Operational | < 300 | 10 | 10 | 100% | Excellent | 0.3058 |  | 3 | 0.007 |  | 0 | 0.004 | 0 | 0.004 | 0.003 | 0.02 | 0.02 | 0
Escherichia Coli | cfu/100ml | Acute Health - 1 | < 0 | 11 | 11 | 100% | Excellent | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Coliform Bacteria | cfu/100ml | Operational | < 10 | 11 | 11 | 100% | Excellent | 1.5455 | 0 | 1 | 0 |  | 0 | 0 | 0 | 2 | 0 | 5 | 0 | 9
Heterotrophic Plate Count | cfu/ml | Operational | < 1000 | 0 | 0
Total Chlorine | mg/L | Chronic Health | < 5 | 0 | 0 | #DIV/0!
Dissolved Organic Carbon | mg/L | Chronic Health | < 10 | 4 | 0 | 0% |  |  | Mar: 17.6; Apr: 17.5; May: 24.7; Jun: 75.4
Sodium (as Na) | mg/L | Aesthetic | < 200 | 10 | 10 | 100% | Excellent | 111.338 |  | 93.81 | 89.73 |  | 82.94 | 121.19 | 97.36 | 114.86 | 114.47 | 121.54 | 134.54 | 142.94
Potassium (as K) | mg/L | Operational / Health | < 50 | 1 | 1 | 100% | Excellent | 0.82 | Aug: 0.82
Zinc (as Zn) | mg/L | Aesthetic | < 5 | 9 | 9 | 100% | Excellent | 0.056556 |  |  | 0.05 |  | 0.032 | 0.057 | 0.077 | 0.058 | 0.03 | 0.05 | 0.043 | 0.112
Chloride (as Cl) | mg/L | Aesthetic | < 300 | 10 | 9 | 90% | Unacceptable | 168.817 |  | 151.91 | 153.04 |  | 147.11 | 0.57 | 170.72 | 175.64 | 322.51 | 175.31 | 199.04 | 192.32
Sulphate (as SO42-) | mg/L | Acute Health - 1 | < 500 | 10 | 10 | 100% | Excellent | 68.12 |  | 36.67 | 33.68 |  | 33.31 | 168.81 | 36.45 | 64.81 | 44.98 | 49.6 | 34.76 | 35.64
|  | Aesthetic | < 250 | 10 | 10 | 100% | Excellent | 68.12
Ammonia Nitrogen (as N) | mg/L | Aesthetic | < 1.5 | 11 | 11 | 100% | Excellent | 0.26518 |  | 0.21 | 0.209 | 0.01 | 0 | 0.28 | 0.223 | 0.436 | 0.268 | 0.27 | 0.751 | 0.26
Nitrate as N | mg/L | Acute Health - 1 | < 11 | 12 | 12 | 100% | Excellent | 0.865 | 1.07 | 0.742 | 0.656 | 0.73 | 0.742 | 0.21 | 0.973 | 1.612 | 0.897 | 0.9 | 0.918 | 0.93
Nickel (as Ni) | ug/L | Chronic Health | < 150 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Cobalt (as Co) | ug/L | Chronic Health | <500 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Copper (as Cu) | ug/L | Chronic Health | < 2000 | 1 | 1 | 100% | Excellent | 25 | Aug: 25
Chromium (as Cr) | ug/L | Chronic Health | < 100 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Cadmium (as Cd) | ug/L | Chronic Health | < 5 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Lead (as Pb) | ug/L | Chronic Health | < 20 | 1 | 1 | 100% | Excellent | 1 | bar: Aug
Cyanide | ug/L | Acute Health - 1 | < 70
Arsenic (as As) | ug/L | Chronic Health | < 10 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Mercury (as Hg) | ug/L | Chronic Health | < 6 | 1 | 1 | 100% | Excellent | 2 | Aug: 2
Selenium (as Se) | ug/L | Chronic Health | < 20 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Vanadium (as V) | ug/L | Chronic Health | < 200 | 1 | 1 | 100% | Excellent | 0 | Aug: 0
Antimony (as Sb) | ug/L | Chronic Health | < 20 | 1 | 1 | 100% | Excellent | 3 | Aug: 3
| Acute Health - 1 Chemical |  |  | 33 | 33 | 100% | Excellent |  | Jul: ≥ 97% Excellent, ≥ 95% Good, < 95% Unacceptable
| Chronic Health |  |  | 56 | 49 | 87.5% | Unacceptable
| Aesthetic |  |  | 98 | 97 | 98.98% | Excellent
| Risk Assessment Defined Health (Acute or Chronic) |  |  | 91 | 84 | 92.31% | Good |  | Jul: ≥ 95% Excellent, ≥ 93% Good, < 93% Unacceptable
| Operational Efficiency |  |  | 46 | 44 | 95.65% | Excellent